## Readme
GRID RELIABILITY BENEFITS
Overview of Workbook
OVERVIEW | The U.S. Department of Energy's Interruption Cost Estimate (ICE) Calculator is an electric reliability planning tool developed by Lawrence Berkeley National Laboratory and Nexant, Inc. The ICE Calculator, which is freely available online (https://icecalculator.com), is designed to estimate interruption costs and/or the benefits associated with reliability improvements. The worksheets in this Excel file were designed by Industrial Economics, Incorporated (IEc) to assist CEC in using the ICE Calculator to estimate the benefits of EPIC grants that lead to improvements in grid reliability.
For more information about the methodology employed by the ICE Calculator, please visit the documentation at:
https://icecalculator.com/documentation
If you are unfamiliar with the ICE Calculator, please refer to the accompanying tutorial.
RECOMMENDED USE | This workbook contains several worksheets intended to be used in conjunction with the ICE Calculator to estimate the benefits associated with grid reliability improvements. These worksheets are designed to organize the workflow for, inputs to, and outputs of the ICE Calculator.
INPUTS | Use the Inputs worksheets to prepare the model inputs for entry into the ICE Calculator.
Pre-Analysis Worksheet | Use the Pre-Analysis worksheet to prepare the inputs you will enter into the ICE Calculator:
• Enter the information from the Pre-Analysis questionnaire into the appropriate fields in the Pre-Analysis worksheet.
Reliability Worksheet | Use the Reliability worksheet if your projection of future SAIFI, SAIDI, and CAIDI values differs from year to year over the lifetime of the improvement.
ICE Worksheet | Use the Interruption Cost Estimate (ICE) worksheet to guide yourself through the benefits analysis:
• Copy and paste values from the ICE worksheet and the Reliability worksheet into the ICE Calculator.
• Check the data entered into the ICE Calculator against the inputs specified in the ICE worksheet.
BENEFITS | Use the Benefits worksheet to summarize the project's benefits.
Benefits Worksheet | • After using the ICE Calculator, download the results and copy and paste values into tables on the Benefits worksheet.
REFERENCE | Reference worksheets contain standard values used throughout this tool.
CPI Worksheet | The CPI worksheet contains annual data for the Consumer Price Index (CPI). This index is used to adjust dollar values from one year to another year.
COLOR LEGEND | The cells in this workbook are colored according to the following scheme:
• White: User input (optional)
• Yellow: User input (required)
• Purple: Default value
• Grey: Previously entered input or calculated value

## Pre-Analysis
GRID RELIABILITY BENEFITS
Pre-Analysis Worksheet
OVERVIEW | Use the Pre-Analysis worksheet to prepare the inputs you will enter into the U.S. Department of Energy's Interruption Cost
Estimator (ICE) Calculator to estimate the benefits of improved grid reliability.
| This worksheet has three sections: | Color Legend
| 1. Main Model Inputs | White: User input (optional)
| 2. Common Model Adjustments (Optional) | Yellow: User input (required)
| 3. Additional Model Adjustments (Optional) | Purple: Default value
Grey: Previously entered input or calculated value
1. MAIN MODEL INPUTS | Pre-Analysis Steps 1.1 - 1.3 are designed to capture the following inputs required by the ICE Calculator: |  |  | Model Defaults
| 1.1. Number of Customers |  |  | The defaults provided by the ICE Calculator for
| 1.2. Investment Information |  |  | some of the model parameters were calculated
| 1.3. Reliability Indices |  |  | from state census data and other state-specific
information.
1.1. Number of Customers | The ICE Calculator requires you to specify the number of Non-Residential and Residential customers in the service area affected by the
reliability improvement. The "Number of Customers" refers to the number of customer accounts, connections, or number of meters, rather
than the population served.
Enter the number of each type of customer in the table below. The value for each type of customer must be >= 0 and < 10,000,000. In
addition, at least one value must be greater than 0.
| Number of Customers |  |  | Required input values. No defaults available.
| Customer Type | Number of Customers
Number of Non-Residential Customers (>=0 and <10,000,000)
Number of Residential Customers (>=0 and <10,000,000)
Total Number of Customers
1.2. Investment Information | The ICE Calculator requires some information about the project in order to calculate the benefits of expected improvements in grid reliability.
1.2.1. Initial Year of | In the "Initial Year of Improvement" field, enter the year that improvements in service will first be realized. Enter any year from 2009
Improvement | onwards. The "Initial Year of Improvement" is also used as the base year for present value calculations.
1.2.2. Expected Lifetime of | In the "Expected Lifetime of Improvement" field, enter the number of years the improvement is expected to last (any number from 10
Improvement | to 40 years).
1.2.3. Expected Annual | In the table below, enter the Expected Annual Inflation Rate. This is the average annual inflation rate over the expected lifetime of the
Inflation Rate | improvement. To conduct the analysis on a real dollar basis rather than a nominal dollar basis, set the Expected Annual Inflation Rate to 0%.
1.2.4. Discount Rate | In the table below, enter the annual discount rate to be applied in calculating the present value of benefits over the improvement's lifetime.
The California Department of Finance suggests using U.S. Office of Management and Budget Circular A-4 as a guide in selecting an appropriate
discount rate. Circular A-4 recommends using real annual discount rates of 3% and/or 7%.
| Investment Information |  |  | Default Values
| Investment Metric | Value |  | Suggested Values | ICE Defaults
| Initial Year of Improvement (>=2009) |  |  | 2020 | 2020
| Expected Lifetime of Improvement (>= 10 and <= 40 years) |  |  | No default | No default
| Expected Annual Inflation Rate (>= 0% and <= 100%) |  |  | 0% | 2%
| Annual Discount Rate (>= 0% and <= 100%) |  |  | 3% and/or 7% | 6%
1.3. Reliability Indices | The ICE Calculator uses three standard electric utility reliability indices1 to estimate the costs of interruptions in service and the benefits of
more reliable service. These metrics are SAIFI, SAIDI, and CAIDI. As noted in the definitions below, the three indices are mathematically
related. Since any two values can be used to calculate the third, you only need to enter two of the three values into the ICE Calculator.
SAIFI (System Average Interruption Frequency Index)
• The number of interruptions a typical customer experiences (or is expected to experience) during an average year. SAIFI has units of
frequency (# of interruptions/year). The ICE Calculator allows input values > 0 and <= 100.
• SAIFI = SAIDI/CAIDI
SAIDI (System Average Interruption Duration Index)
• The total duration of interruptions a customer experiences (or is expected to experience) during an average year. SAIDI has units of
time per year (minutes/year). The ICE Calculator allows input values that are >= 1 and <= 1920.
• SAIDI = SAIFI*CAIDI
CAIDI (Customer Average Interruption Duration Index)
• The mean duration of an interruption a typical customer experiences (or is expected to experience). CAIDI has units of time per
interruption (minutes/interruption). The ICE Calculator allows input values that are > 0 and <= 960.
• CAIDI = SAIDI/SAIFI
1 The California Public Utilities Commission (CPUC) publishes annual reports on system reliability for each of California’s investor-owned utilities. These are
available at:
https://www.cpuc.ca.gov/General.aspx?id=4529
In the table below, please specify the expected values for two of the three reliability indices over the improvement's anticipated lifetime.
Enter values in the appropriate cells and columns for each of the following cases:
• Without the improvement in reliability, and
• With the improvement.
If you expect the reliability index values to differ from year to year over the improvement's lifetime, after finishing the Pre-Analysis
worksheet, use the Reliability worksheet to prepare the yearly values for the reliability indices (see the "Reliability" tab at the bottom of this
window).
The cells with CAIDI values will become shaded and the font color changes to red if you enter values for all SAIFI, SAIDI, and CAIDI in a row and
CAIDI does not equal SAIDI/SAIFI.
| Reliability Index Values |  |  | Required input values. No defaults available.
| Reliability Index | Without Improvement | With Improvement
SAIFI (> 0 and <= 100 interruptions)
SAIDI (>= 1 and <= 1920 minutes)
CAIDI (> 0 and <= 960 minutes)
2. COMMON MODEL | After the initial model run, the ICE Calculator provides options to adjust the model's default parameters. Pre-Analysis Steps 2.1 - 2.3 are
ADJUSTMENTS | designed to capture inputs for the most common adjustments:
(OPTIONAL)
2.1. Number of Commercial & Industrial (C&I) Customers
2.2. Annual Usage (MWh)
2.3. Industry Percentage
2.1. Number of Commercial | The ICE Calculator provides the option to specify the number of Commercial & Industrial (C&I) customers (i.e., Non-Residential customers) in
& Industrial Customers | each of two categories:
(Optional) | • Small C&I: Any Non-Residential customers consuming less than or equal to (<=) 50 MWh per year, and
• Medium/Large: Any Non-Residential customers consuming more than 50 MWh per year (> 50 MWh).
To change the breakdown of Small and Medium/Large C&I customers from the default values for California, follow instructions for Pre-
Analysis Step 2.1.1 (if you know or can estimate the number of each type of C&I customer) or Step 2.1.2 (if you can estimate the percentage
| of the total number of C&I customers by type). Otherwise, skip this section. |  |  | The default values in the cells below
are calculated using the Number of Non-
2.1.1. As a number | If you know or can estimate the number of each type of C&I customer, enter the number of each C&I customer type in the cells in the table |  |  | Residential (C&I) Customers from
| below. Otherwise, skip this section. |  |  | Step 1.1 and the default percentages
from Step 2.1.2.
| Distribution of C&I Customers by Size (Numbers Known) |  |  | Default Values (California)
| Type of C&I Customer | Number of C&I Customers |  | C&I Type | C&I Customers (#)
| Small C&I Customers (i.e., customers consuming <=50 MWh/Year) |  |  | Small C&I
| Medium/Large C&I Customers (i.e., customers consuming >50 MWh/Year) |  |  | Medium/Large C&I
Total Number of C&I Customers
Check Value
Total Number of C&I Customers from Step 1.1
2.1.2. As a percent | If you know or can estimate the percentage of C&I customers in each of the Small and Medium/Large categories, enter the value in the cells
in the table below. Otherwise, skip this section.
| Distribution of C&I Customers by Size (Percentages Known) |  |  | Default Values (California)
| Type of C&I Customer | C&I Customers (%) |  | C&I Type | C&I Customers (%)
| Small C&I Customers (i.e., customers consuming >50 MWh/Year) |  |  | Small C&I | 83%
| Medium/Large C&I Customers (i.e., customers consuming >50 MWh/Year) |  |  | Medium/Large C&I | 17%
Total
Summary of | The values in this table summarize values you entered in Pre-Analysis Steps 1.1 and 2.1.
Number of Customers | • If you did not enter any values in Step 2.1.1 or Step 2.1.2, the numbers of Small and Medium/Large C&I customers shown in this table are
by Type | calculated using the default percentages for California.
• If you entered values in both Step 2.1.1 and Step 2.1.2, the numbers of Small and Medium/Large C&I customers shown in this table are the
values you entered in Step 2.1.1.
| Number of Customers by Type |  |  | Summary table. No defaults available.
| Type of Customer | Number of Customers
Small C&I Customers (i.e., customers consuming <=50 MWh/Year)
Medium/Large C&I Customers (i.e., customers consuming >50 MWh/Year)
Residential Customers
2.2. Annual Usage | After the initial model run, the ICE Calculator provides the option to change the default numbers for average annual energy use for each of
(Optional) | the customer types.
If you know or can calculate average annual energy use for each type of customer in the service area, enter the values in the table below.
Otherwise, skip this section.
| Annual Usage (MWh) |  |  | Default Values (California)
| Type of Customer | Annual Usage (MWh) |  | Type of Customer | Annual Usage (MWh)
| Small C&I Customers (i.e., customers consuming <=50 MWh/Year) |  |  | Small C&I | 18.1
| Medium/Large C&I Customers (i.e., customers consuming >50 MWh/Year) |  |  | Medium/Large C&I | 459
| Residential |  |  | Residential | 7.2
2.3. Industry Percentage | The ICE Calculator provides the option to specify the breakdown of Small and Medium/Large C&I customers into the following industry
(Optional) | categories:
• Construction
• Manufacturing
• All Other Industries
2.3.1. Small C&I Customers | If you know or can make an informed estimate of the percentage of Small C&I customers in each industry category, enter the values in the
table below. Otherwise, skip this section. The values must be >= 0 and <= 100 and sum to 100%.
| Industry Percentage (Small C&I Customers) |  |  | Default Values (California)
| Industry Type | Small C&I (% of Customers) |  | Industry Type | Small C&I (% of Customers)
| Construction |  |  | Construction | 9.5%
| Manufacturing |  |  | Manufacturing | 5%
| All Other Industries |  |  | All Other Industries | 85.5%
Total
2.3.2. Medium/Large C&I | If you know or can make an informed estimate of the percentage of Medium/Large C&I customers in each industry category, enter the values
Customers | in the table below. Otherwise, skip this section. The values must be >= 0 and <= 100 and sum to 100%.
| Industry Percentage (Medium and Large C&I Customers) |  |  | Default Values (California)
| Industry Type | Medium/Large C&I (% of Customers) |  | Industry Type | Medium/Large C&I (% of Customers)
| Construction |  |  | Construction | 2%
| Manufacturing |  |  | Manufacturing | 17.1%
| All Other Industries |  |  | All Other Industries | 80.9%
Total
3. ADDITIONAL MODEL | The ICE Calculator provides the option to adjust additional model parameters. Pre-Analysis Steps 3.1 - 3.3 are designed to capture values for
ADJUSTMENTS | the following adjustments:
(OPTIONAL)
3.1. Household Income
3.2. Backup Generation
3.3. Power Interruption
3.1. Household Income | The average annual household income of residential customers affects the ICE Calculator's estimate of the value of improvements in service
(Optional) | reliability.
If you know or can make an informed estimate of average annual household income in the service area, enter the value in the table below.
Otherwise, skip this section.
| Household Income ($/Year) |  |  | Default Values (California)
| Household Income (>= 0 and <$10,000,000) |  |  | Household Income | 56862
3.2. Backup Generation | The ICE Calculator specifies three categories of backup service capability for C&I customers:
(Optional) | • No or Unknown Backup Equipment
• Backup Generation or Power Conditioning Equipment
• Backup Generation and Power Conditioning Equipment
If you know or can make an informed estimate of the distribution of backup service capabilities for Small C&I customers and/or
Medium/Large C&I customers, specify the appropriate values in the table below. Otherwise, skip this section. The values must be >= 0,
<= 100, and sum to 100%.
| Backup Generation (Percentage of C&I Customers) |  |  | Default Values (California)
| Type of Backup Equipment | Small C&I (% of Customers) | Medium/Large C&I (% of Customers) | Small C&I (% of Customers) | Medium/Large C&I (% of Customers)
| No or Unknown Backup Equipment |  |  | 70.4% | 54.4%
| Backup Generation or Power Conditioning |  |  | 26.2% | 37.2%
| Backup Generation and Power Conditioning |  |  | 3.4% | 8.4%
Total
3.3. Power Interruption | The ICE Calculator uses information about the distribution of power interruptions throughout the day and year to estimate the value of
(Optional) | reliability improvements.
3.3.1. By Time of Day | For time of day, the ICE Calculator assumes that a power interruption is equally likely to occur at any time during the day (i.e., that
interruptions occur randomly over a 24-hour cycle). This assumption is reflected in the default values: the default percentage of
interruptions associated with each period of the day is equal to the number of hours in that period divided by the total hours in a day,
multiplied by 100:
Default percentage for period of day = Number of hours in period/24*100%.
If you know or can provide estimates of the distribution of power interruptions by Time of Day within the service area, enter the
appropriate values in the table below. Otherwise, skip this section. The values must be >= 0 and <= 100 and must sum to 100%.
| Power Interruption by Time of Day (Percentage of Interruptions) |  |  | Default Values
| Time of Day | Interruptions (%) |  | Time of Day | Interruptions (%)
| Morning (6am - 12pm)1 |  |  | Morning | 25%
| Afternoon (12pm - 5pm) |  |  | Afternoon | 20.83%
| Evening (5pm - 10pm) |  |  | Evening | 20.83%
| Night (10pm - 6am) |  |  | Night | 33.33%
Total
1 The ICE Calculator lists morning as the period from (5am - 12pm), but the default value associated with the morning period indicates that the morning begins at 6 am.
3.3.2. By Time of Year | The ICE Calculator uses state-specific data to calculate default values for the distribution of power interruptions by time of year. The ICE
Calculator divides the year into two periods:
• Summer (June through September) and
• All other times (October through May).
If you know or can provide estimates of the distribution of power interruptions by Time of Year within the service area, enter the
appropriate value for the Percentage of Interruptions that occur in the summer in the table below. Otherwise, skip this section. The value
must be >= 0 and <= 100.
| Power Interruption by Time of Year (Percentage of Interruptions) |  |  | Default Values (California)
| Time of Year | Interruptions (%) |  | Time of Year | Interruptions (%)
| Summer (June through September) |  |  | Summer | 50%
All other times (October through May)
Total

## Reliability
GRID RELIABILITY BENEFITS
Reliability Worksheet
OVERVIEW | To estimate the benefits of an improvement in grid reliability, the ICE Calculator compares the cost of the
interruptions expected to occur in the absence of the improvement (without improvement) to the cost of
the interruptions expected to occur if the improvement is implemented (with improvement). The ICE
Calculator estimates these costs on an annual basis over the improvement's anticipated life. In some cases,
the reliability index values (e.g., frequency or duration of service interruptions) may be expected to vary over
the anticipated lifetime of the improvement. This might be the case, for example, if reliability is expected to
deteriorate over time (either with or without the improvement).
RECOMMENDED USE | Only use this worksheet to prepare yearly reliability index values if these values are projected to vary over
the anticipated lifetime of the improvement in grid reliability.
• The definitions of the reliability index values are shown below.
• The reliability index values you entered in Pre-Analysis Step 1.3 are provided in the first row of the table.
• When you are done preparing the reliability index values, you will enter these values into the ICE
Calculator (see ICE Worksheet Steps 2.5 and Step 4.2).
RELIABILITY INDICES | The ICE Calculator uses three standard electric utility reliability indices to estimate the costs of
interruptions in service and the benefits of more reliable service. These metrics are SAIFI, SAIDI, and CAIDI.
As noted in the definitions below, the three indices are mathematically related. Since any two values can be
used to calculate the third, you only need to enter two of the three values into the ICE Calculator.
SAIFI (System Average Interruption Frequency Index)
• The number of interruptions a typical customer experiences (or is expected to experience) during an
average year. SAIFI has units of frequency (# of interruptions/year). The ICE Calculator allows input
values > 0 and <= 100.
• SAIFI = SAIDI/CAIDI
SAIDI (System Average Interruption Duration Index)
• The total duration of interruptions a customer experiences (or is expected to experience) during an average
year. SAIDI has units of time per year (minutes/year). The ICE Calculator allows input values that are >= 1
and <= 1920.
• SAIDI = SAIFI*CAIDI
CAIDI (Customer Average Interruption Duration Index)
• The mean duration of an interruption a typical customer experiences (or is expected to experience). CAIDI
has units of time per interruption (minutes/interruption). The ICE Calculator allows input values that are
> 0 and <= 960.
• CAIDI = SAIDI/SAIFI
Use the table below to specify reliability index values over the project's anticipated life, both with and
without the expected improvement in service. You only need to specify values for two of the three indices.
When you are finished, enter the reliability index values from the table below into the ICE Calculator (ICE
Worksheet Step 2.5 or Step 4.2).
The cells with CAIDI values will become shaded and the font color changes to red if you enter values for all SAIFI,
SAIDI, and CAIDI in a row and CAIDI does not equal SAIDI/SAIFI.
RELIABILITY INDEX |  | Without Improvement |  |  | With Improvement
VALUES TABLE | Project Year | SAIFI | SAIDI | CAIDI | SAIFI | SAIDI | CAIDI
| Initial Reliability Values | -- | -- | -- | -- | -- | --
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40

## ICE
GRID RELIABILITY BENEFITS
Interruption Cost Estimate (ICE) Worksheet
OVERVIEW | The analysis of the value of reliability improvements relies on the U.S. Department of Energy's Interruption Cost
Estimate (ICE) Calculator, which is available online. As instructed below, copy input values from this worksheet
into the ICE Calculator, then copy and paste results into Tables 1 and 4 of the Benefits worksheet.
This worksheet has four sections:
1. Model Setup
2. Initial Model Run
3. Initial Model Results
4. Optional Adjustments
NOTES:
• Changing input values in the spreadsheet will NOT update results in the ICE Calculator.
• The values you entered in the Pre-Analysis worksheet are shown in the tables below. To change these values,
return to the Pre-Analysis worksheet.
• If you did not specify values in the Pre-Analysis worksheet for the optional adjustments, this worksheet will
show the default values in the main input tables. These default values will be shown in purple.
1. MODEL SETUP |  |  |  |  | Model Defaults
1.1. Access ICE Calculator | In your internet browser, navigate to the ICE Calculator at: |  |  |  | The defaults provided by the ICE Calculator for
| https://icecalculator.com |  |  |  | some of the model parameters were calculated
from state census data and other state-specific
1.2. Log in/Create an Account | Log into your existing user account or create a new account, verify your account, and then log in. Then navigate to the ICE |  |  |  | information. Unless otherwise specified, these
| Calculator "Home" button from the main menu bar. |  |  |  | are the same defaults as shown in the Pre-
Analysis Worksheet.
1.3. Choose Model Type | Click on the button for "Estimate Value of Reliability Improvement."
2. INITIAL MODEL RUN
2.1. Select States | Under the "Select a State" field, choose California. Then click "Next."
| Table 2.1: Select a State |  |  |  | Required input values. No defaults available.
| State | California
2.2. Number of Customers | Under "Number of Customers," you are asked to specify the number of Non-Residential (i.e., Commercial &
Industrial) and Residential customers in the service area affected by the reliability improvement.
The information you provided in the Pre-Analysis worksheet is shown below. Enter these values in the fields specified on the
webpage, then click "Next."
| Table 2.2: Number of Customers |  |  |  | Required input values. No defaults available.
| Type of Customer | Number of Customers
Non-Residential
Residential
2.3. Investment Information | Under "Investment Information," you are asked to provide parameters used to calculate the present value of the
economic benefits from proposed system improvements.
The information you provided in the Pre-Analysis worksheet is shown below. Enter these values in the fields specified on the
webpage, then click "Next."
| Table 2.3: Investment Information |  |  |  | Default Values
| Investment Metric | Value |  |  | Suggested Values | ICE Defaults
| Initial Year of Improvement | 2020 |  |  | 2020 | 2020
| Expected Lifetime of Improvement (Years) | No default |  |  | No default | No default
| Expected Annual Inflation Rate (%/Year) | 2% |  |  | 0% | 2%
| Annual Discount Rate (%/Year) | 6% |  |  | 3% and/or 7% | 6%
2.4. Initial Reliability Values | Under "Enter Initial Reliability Values," you are asked to provide values for two of three reliability indices (SAIFI,
SAIDI, and CAIDI). You are asked to provide an average estimate of these values over the lifetime of the
improvement, both with and without the improvement in reliability.
The information you provided in the Pre-Analysis worksheet is shown below. Enter the values for two of the indices in the
fields specified on the webpage, then click "Next." You only need to specify two of the three index values; the ICE Calculator
will derive the value for the third index based on the values you provide for the others.
| Table 2.4: Initial Reliability Values |  |  |  | Required input values. No defaults available.
| Reliability Index | SAIFI | SAIDI | CAIDI
Without Improvement
With Improvement
2.5. Expected Reliability Values | Clicking "Next" in the previous step opens a section called "Expected SAIFI, CAIDI, and SAIDI." The expected values
for each reliability index are plotted over the lifetime of the improvement. This section also has the option to view
the reliability index values in a table, where the annual values for the reliability indices can be set for specific years.
If the reliability index values are expected to vary year to year over the lifetime of the improvement, use the "Expected
SAIFI, CAIDI, and SAIDI" table to specify the yearly values. To prepare annual values, use the Reliability worksheet.
2.6. Run the Model | Review the values you entered in the ICE Calculator in the previous steps. When satisfied with the values you entered, click
the "Run the Model" button located at the bottom left of the "Expected SAIFI, CAIDI, and SAIDI" window.
3. INITIAL MODEL RESULTS
3.1. Manage Model Results | After the initial model run, the results window has a toolbar with options for managing the model and results.
Use the results toolbar to perform the following options (from left to right):
3.1.1. Update model parameters
3.1.2. Create a new model
3.1.3. Create a copy of this model
3.1.4. Delete this model
3.1.5. Download Excel
3.1.6. Save this model
3.2. Distribution of Benefits | The ICE Calculator displays the present value of estimated benefits (total and per customer) in a table and a pie
chart. You can copy and paste the numbers from the "Distribution of Benefits" table in the ICE Calculator into the
"Distribution of Benefits" table under "Model Results" in this worksheet. Alternatively, copy and paste the
numbers from the Excel spreadsheet of results (Step 3.1.5).
Note: Copy and paste the results after you have completed any optional adjustments you intend to make.
Go to the Distribution of Benefits table
3.3. Forecast of Benefits | The ICE Calculator also provides results as a forecast of the annualized benefits from the improvement for each
year of the improvement's lifetime. You can copy and paste the numbers from the "Forecast of Total Sustained
Interruption Costs" table in the ICE Calculator into the "Forecast of Benefits" table under "Model Results" on this
worksheet. Alternatively, copy and paste the numbers from the Excel spreadsheet of results (Step 3.1.5).
Note: Copy and paste the results after you have completed any optional adjustments you intend to make.
Go to the Forecast of Benefits table
4. OPTIONAL ADJUSTMENTS | Steps 4.1 - 4.8 provide instructions for making adjustments to additional model parameters. These adjustments are optional.
Return to Overview | Follow these instructions if your information indicates that these parameters for your service area differ from the model
defaults (provided in the grey column to the right).
For these optional model adjustments, this worksheet displays either:
• The inputs you entered on the Pre-Analysis worksheet, or
• The ICE default values if the optional adjustments on the Pre-Analysis worksheet were left blank.
At any time, you can skip to the Model Results at the end of this worksheet:
Go to Model Results
4.1. Investment Info | Use "Update Model Parameters > Investment Info" to adjust the following investment parameters:
(Optional) | 4.1.1. Initial Year
4.1.2. Inflation Rate
4.1.3. Discount Rate
4.1.4. Expected Lifetime of the Investment
To make these changes, go back to the Pre-Analysis worksheet. Adjust the values in Pre-Analysis Step 1.2. Enter those values
into the corresponding fields of the webpage, then click "OK."
4.2. Reliability Index | To change the reliability index values, use "Update Model Parameters > Reliability Index."
(Optional)
If the reliability index values change from year to year over the expected lifetime of the improvement, prepare the annual
values in the Reliability Worksheet. Then update the yearly values in the model using the interactive plots and dialog
windows.
4.3. Number of Customers | Use "Update Model Parameters > Update Number of Customers" to specify the mix of Commercial & Industrial (C&I)
(Optional) | customers by size.
The information you provided in the Pre-Analysis worksheet is shown below. If these values differ from the ICE Calculator's
default figures, enter the values shown below in the corresponding fields of the ICE webpage, then click "OK."
| Table 4.3: Number of C&I Customers |  |  |  | Summary table. No defaults available.
| Type of Customer | Number of Customers
Small C&I
Medium/Large C&I
Residential
4.4. Annual Usage (Optional) | Use "Update Model Parameters > Annual Usage (MWh)" to specify average annual energy use per customer.
The information you provided in the Pre-Analysis worksheet is shown below. If these values differ from the ICE Calculator's
default figures, enter the values shown below in the corresponding fields of the ICE webpage, then click "OK."
| Table 4.4: Annual Usage (MWh) |  |  |  | Default Values (California)
| Type of Customer | Annual Usage (MWh) |  |  | Type of Customer | Annual Usage (MWh)
| Residential | 7.2 |  |  | Residential | 7.2
| Small C&I | 18.1 |  |  | Small C&I | 18.1
| Medium/Large C&I | 459 |  |  | Medium/Large C&I | 459
4.5. Household Income | Use "Update Model Parameters > Household Income" to update the value for the average annual household income for
(Optional) | Residential customers in the service area.
The information you provided in the Pre-Analysis worksheet is shown below. If this value differs from the ICE Calculator's
default figure, enter the value shown below where indicated on the ICE webpage, then click "OK."
| Table 4.5: Household Income ($/Year) |  |  |  | Default Values (California)
| Household Income | 56862 |  |  | Household Income | 56862
4.6. Power Interruption | Use "Update Model Parameters > Power Interruption" to specify the distribution of outages by time of day (Morning,
(Optional) | Afternoon, Evening, and Night) and time of year (Summer and Non-Summer).
The information you provided in the Pre-Analysis Worksheet is shown below. If these values differ from the ICE Calculator's
default distributions, enter the values shown below in the corresponding fields of the ICE webpage, then click "OK."
| Table 4.6.1: Power Interruption (by Time of Day) |  |  |  | Defaults Values (California)
| Time of Day | Interruptions (%) |  |  | Time of Day | Interruptions (%)
| Morning (6am - 12pm) | 25% |  |  | Morning | 25%
| Afternoon (12pm - 5pm) | 20.83% |  |  | Afternoon | 20.83%
| Evening (5pm - 10pm) | 20.83% |  |  | Evening | 20.83%
| Night (10pm - 6am) | 33.33% |  |  | Night | 33.33%
| Total | 100%
| Table 4.6.2: Power Interruption (by Time of Year) |  |  |  | Defaults Values (California)
| Time of Year | % of Interruptions |  |  | Time of Year | Interruptions (%)
| Summer (June - September) | 50% |  |  | Summer | 50%
4.7. Industry Percentage | Use "Update Model Parameters > Industry Percentage" to specify the mix of C&I customers by industry type.
(Optional)
The information you provided in the Pre-Analysis worksheet is shown below. If these values differ from the ICE Calculator's
default distributions, enter the values shown below in the corresponding fields of the ICE webpage, then click "OK."
| Table 4.7: Industry Percentage (Percent of Customers) |  |  |  | Default Values (California)
| Industry Type | Small C&I (% of Customers) | Medium/Large C&I (% of Customers) |  | Small C&I (% of Customers) | Medium/Large C&I (% of Customers)
| Construction | 9.5% | 2% |  | 9.5% | 2%
| Manufacturing | 5% | 17.1% |  | 5% | 17.1%
| All Other Industries | 85.5% | 80.9% |  | 85.5% | 80.9%
| Total | 100% | 100%
4.8. Backup Generation | Use "Update Model Parameters > Backup Generation" to specify the distribution of C&I customers by backup service
(Optional) | capability.
The information you provided in the Pre-Analysis worksheet is shown below. If these values differ from the ICE Calculator's
default distributions, enter the values shown below in the corresponding fields of the ICE webpage, then click "OK."
| Table 4.8: Backup Generation (Percent of C&I customers) |  |  |  | Default Values (California)
| Type of Backup Equipment | Small C&I (% of Customers) | Medium/Large C&I (% of Customers) |  | Small C&I (% of Customers) | Medium/Large C&I (% of Customers)
| No or Unknown Backup Equipment | 70.4% | 54.4% |  | 70.4% | 54.4%
| Backup Generation or Power Conditioning | 26.2% | 37.2% |  | 26.2% | 37.2%
| Backup Generation and Power Conditioning | 3.4% | 8.4% |  | 3.4% | 8.4%
Return to Overview | Total | 100% | 100%

## Benefits
GRID RELIABILITY BENEFITS
Benefits Summary
OVERVIEW |  | Use the Benefits Summary worksheet to consolidate the results output from the ICE Calculator.
PROJECT INFO
Project Name
|  | Initial Project Year (i.e., year in which the benefits from the project begin) | 2020
|  | Project Lifetime (years) | 0
The ICE Calculator uses the Initial Project Year as the base year for present value calculations and also reports the present value of benefits
in the dollar value of the Initial Project Year. To convert the present value of benefits in Table 1 from base year to a different year (i.e., the
dollar year), select a dollar year from the dropdown menu below.
Note: The dollar year must equal the Initial Project Year (i.e., base year) if the Expected Annual Inflation Rate was not set to zero in Step 2.3
on the ICE worksheet.
Dollar Year Selection
MODEL RESULTS
Present Value of Benefits |  | Download the Excel file of results. Column C ("Total Benefit") of the results file contains the present value (PV) of the total benefits of the grid
reliability improvement for each customer sector (i.e., the sum of benefits discounted to the Initial Project Year). The value of benefits in
Column C of the Excel file are reported in the dollar value of the Initial Project Year.1
Copy and paste the sector results from Column C into the corresponding column and row in the table below.1
1 Note that if you choose to download the results from the ICE Calculator, the column header for Column C in the downloaded Excel spreadsheet of results
indicates that the "Distribution of Benefits" are reported in 2015 dollars. In spite of the column header, the results in Column C are actually reported in
the dollar value of the Initial Project Year.
Table 1: Distribution of Benefits, By Sector (Reported in Initial Project Year$)
|  | Sector | Number of Customers | Total Benefit - 3% Annual Discount Rate (2020$) | Total Benefit - 7% Annual Discount Rate (2020$)
|  | Sector | Number of Customers | Total Benefit - 3% Annual Discount Rate (Initial $) | Total Benefit - 7% Annual Discount Rate (Initial $)
Residential
Small C&I
Medium/Large C&I
|  | All Customers |  | 0 | 0
Table 2 shows the present value of benefits from Table 1 adjusted to the dollar value of the dollar year. If the dollar year is equal to the
Initial Project Year, the values shown in Table 2 are the same as those in Table 1.
Table 2: Present Value of Benefits, By Sector (Values Adjusted to Dollar Year)
|  | Sector | Number of Customers | Total Benefit - 3% Annual Discount Rate (2020$) | Total Benefit - 7% Annual Discount Rate (2020$)
|  | Sector | Number of Customers | Total Benefit - 3% Annual Discount Rate (Adjusted $) | Total Benefit - 7% Annual Discount Rate (Adjusted $)
|  | Residential |  | 0 | 0
|  | Small C&I |  | 0 | 0
|  | Medium/Large C&I |  | 0 | 0
|  | All Customers |  | 0 | 0
The figures below show the present value of benefits, by customer sector, for 3 percent (left) and 7 percent (right) annual discount rates.
BENEFITS BY SECTOR |  | Table 3 shows the results from Table 2 as the average present value of benefits per customer (by sector).
Table 3: Benefits Per Customer, By Sector (Values Adjusted to Dollar Year)
|  | Sector | Number of Customers | Benefit Per Customer - 3% Annual Discount Rate (2020$) | Benefit Per Customer - 7% Annual Discount Rate (2020$)
|  | Sector | Number of Customers | Benefit Per Customer - 3% Annual Discount Rate (Adjusted $/Customer) | Benefit Per Customer - 7% Annual Discount Rate (Adjusted $/Customer)
|  | Residential |  | 0 | 0
|  | Small C&I |  | 0 | 0
|  | Medium/Large C&I |  | 0 | 0
|  | All Customers |  | 0 | 0
The figures below show the average present value of benefits per customer for 3 percent (left) and 7 percent (right) annual discount rates.
ANNUAL BENEFITS |  | The ICE Calculator provides the forecasted annual interruption costs and benefits for the improvement over the improvement's expected
lifetime. These results can be found at the bottom of the ICE Calculator results page under "Forecast of Total Sustained Interruption Costs,"
and are not discounted to the initial project year. The "Forecast of Total Sustained Interruption Costs" table has three columns:
• Without Improvement: Estimated annual interruption costs without the improvement,
• With Improvement: Estimated annual interruption costs with the improvement, and
• Total Benefit: The difference between the annual costs without the improvement and annual costs with the improvement.
Copy and paste the values into the appropriate cell and column from the downloaded Excel file of results (Columns G - H). Total Annual
Benefits are calculated as the Costs Without Improvement minus the Costs With Improvement, adjusted to the dollar year.
Table 4: Forecast of Benefits
|  | Year | Total Annual Benefits (2020$/Year) | Costs Without Improvement (2020$/Year) | Costs With Improvement (2020$/Year)
| ID | Year | Total Annual Benefits ($/Year) | Costs Without Improvement (Initial$/Year) | Costs With Improvement (Initial$/Year)
| 1 | 2021 | 0
| 2 |  | 0
| 3 |  | 0
| 4 |  | 0
| 5 |  | 0
| 6 |  | 0
| 7 |  | 0
| 8 |  | 0
| 9 |  | 0
| 10 |  | 0
| 11 |  | 0
| 12 |  | 0
| 13 |  | 0
| 14 |  | 0
| 15 |  | 0
| 16 |  | 0
| 17 |  | 0
| 18 |  | 0
| 19 |  | 0
| 20 |  | 0
| 21 |  | 0
| 22 |  | 0
| 23 |  | 0
| 24 |  | 0
| 25 |  | 0
| 26 |  | 0
| 27 |  | 0
| 28 |  | 0
| 29 |  | 0
| 30 |  | 0
| 31 |  | 0
| 32 |  | 0
| 33 |  | 0
| 34 |  | 0
| 35 |  | 0
| 36 |  | 0
| 37 |  | 0
| 38 |  | 0
| 39 |  | 0
| 40 |  | 0

## CPI
GRID RELIABILITY BENEFITS
Consumer Price Index (CPI)
OVERVIEW |  | The CPI worksheet contains data for the annual CPI-U (CPI for all items for all urban consumers):
• The Grid Reliability Benefits Calculator (the Calculator) uses the annual CPI-U index to adjust dollar values from one year to another.
• The annual CPI-U is the seasonally adjusted, monthly CPI-U averaged over each year in the data series.
• The table below contains a data series of the average annual CPI-U values from 1975 to 2018:
- Values for 1975 - 2018 are historical averages.
- Values past 2018 are forecasted.
• This data series was provided by CEC based on data published by the U.S. Bureau of Labor Statistics and does not require regular updates.
MODEL VALUES |  | This table contains the model values for the annual CPI-U and ratio used in adjusting the dollar values.
|  | Metric | Year | Annual CPI-U | CPI Ratio
|  | Initial Project Year | 2020 | 261.2502 | 1
|  | Dollar Year | 2020 | 261.2502 | 1
ANNUAL CPI-U |  | This table contains the annual CPI-U data series.
| ID | Year | Annual CPI-U
| 1 | 1975 | 53.825
| 2 | 1976 | 56.9333
| 3 | 1977 | 60.6167
| 4 | 1978 | 65.2417
| 5 | 1979 | 72.5833
| 6 | 1980 | 82.3833
| 7 | 1981 | 90.9333
| 8 | 1982 | 96.5333
| 9 | 1983 | 99.5833
| 10 | 1984 | 103.9333
| 11 | 1985 | 107.6
| 12 | 1986 | 109.6917
| 13 | 1987 | 113.6167
| 14 | 1988 | 118.275
| 15 | 1989 | 123.9417
| 16 | 1990 | 130.6583
| 17 | 1991 | 136.1667
| 18 | 1992 | 140.3083
| 19 | 1993 | 144.475
| 20 | 1994 | 148.225
| 21 | 1995 | 152.3833
| 22 | 1996 | 156.8583
| 23 | 1997 | 160.525
| 24 | 1998 | 163.0083
| 25 | 1999 | 166.5833
| 26 | 2000 | 172.1917
| 27 | 2001 | 177.0417
| 28 | 2002 | 179.8667
| 29 | 2003 | 184
| 30 | 2004 | 188.9083
| 31 | 2005 | 195.2667
| 32 | 2006 | 201.5583
| 33 | 2007 | 207.3442
| 34 | 2008 | 215.2543
| 35 | 2009 | 214.5647
| 36 | 2010 | 218.0762
| 37 | 2011 | 224.923
| 38 | 2012 | 229.5861
| 39 | 2013 | 232.9518
| 40 | 2014 | 236.7065
| 41 | 2015 | 236.9928
| 42 | 2016 | 240.0063
| 43 | 2017 | 245.1393
| 44 | 2018 | 251.1241
| 45 | 2019 | 255.895
| 46 | 2020 | 261.2502
| 47 | 2021 | 267.1997
| 48 | 2022 | 273.3656
| 49 | 2023 | 279.5568
| 50 | 2024 | 285.9763
| 51 | 2025 | 292.33
| 52 | 2026 | 298.8148
| 53 | 2027 | 305.6142
| 54 | 2028 | 312.7765
| 55 | 2029 | 320.1745
| 56 | 2030 | 327.7093
| 57 | 2031 | 335.2929
| 58 | 2032 | 342.9086
| 59 | 2033 | 350.6335
| 60 | 2034 | 358.4951
| 61 | 2035 | 366.5634
| 62 | 2036 | 374.825
| 63 | 2037 | 383.2584
| 64 | 2038 | 391.8636
| 65 | 2039 | 400.6716
| 66 | 2040 | 409.7237
| 67 | 2041 | 419.0204
| 68 | 2042 | 428.538
| 69 | 2043 | 438.3061
| 70 | 2044 | 448.3432
| 71 | 2045 | 458.6342
| 72 | 2046 | 469.2141
| 73 | 2047 | 480.1248
| 74 | 2048 | 491.3792
Return to Overview | 75 | 2049 | 502.906