## Readme
Change in Levelized Cost of Electricity (LCOE)
Overview | This tool estimates the change in the cost of electricity generation resulting from technological improvements funded by EPIC. It was developed by Industrial Economics, Inc. (IEc) and Emerald Energy Consulting under contract to the California Energy Commission. Levelized cost of electricity (LCOE) is the price at which energy would need to be sold at in order for a project's owner to break even on their investment. It is determined by analyzing the overnight capital costs of the installation; the interest rate or cost of capital for that upfront investment; and the costs for ongoing operations and maintenance, including fuel costs and periodic replacements.
General inputs worksheet | This worksheet allows users to select among seven different technology characteristics that may be targeted for improvement in an EPIC R&D or demonstration project: capacity factor, degradation rate, installed costs, fixed operations and maintenance costs, variable operations and maintenance costs, fuel costs, and heat rate. Each of these characteristics is defined in the documentation for this tool. When the user selects a characteristic that is addressed by the EPIC intervention, they select whether to manually enter a baseline (pre-intervention) value or to use the default data provided. Users also select whether they prefer to report the change as a quantity or as a percent improvement.
Results worksheet | This worksheet summarizes the resulting change in LCOE from the EPIC intervention based on user inputs. The calculation assumes a levelization period of 25 years, and it displays the LCOE pre- and post-intervention under three financing assumptions: 0%, 3% (the assumed cost for government-financed projects), and 7.68% (representing the average financing cost for California IOUs) cost of capital. Please note that the cost of capital only applies to the installed costs. There is no discounting applied to the ongoing costs. The calculator also does not account for any applicable taxes, tax credits, or emissions pricing.
Defaults worksheet | This worksheet contains data inputs from the RESOLVE model, which are updated annually and released by CPUC. The values highlighted in green from the RESOLVE model should be updated on an annual basis.

## General inputs
← yellow highlight = user input required
← orange highlight = user input completed
GENERAL INPUTS
| User selection | Source notes |  |  |  |  | EPC-14-002
Project name/ID | EPC-14-002 | Applicant/grantee
Technology | Geothermal | Applicant/grantee
Post-intervention cost metrics reported as: | Percent improvement | Applicant/grantee
TARGETED CHANGES
Option 1: Known quantity
Technology Characteristics | Addressed by intervention? | Data source for baseline value | Default baseline value (pre-intervention) | Baseline value (pre-intervention) | Post-intervention value | Calculated percent improvement
Capacity factor (%) | Yes | Manual input | 90% | 50% | 56% | 12%
Degradation rate (%/yr) | No | Use default data | 0% |  | 0.3% | #DIV/0!
Installed cost ($/kW) | No |  | 5127.3429 |  | 4800 | 6.384%
Fixed O&M ($/kW-yr) | No |  | 144.859 |  | 140 | 3.354%
Variable O&M ($/MWh) | No |  | 0 |  |  | #DIV/0!
Fuel cost ($/MMBtu) | No |  | 0 |  |  | #DIV/0!
Heat rate (Btu/kWh) |  |  | 0 |  |  | #DIV/0!
Option 2: Percent improvement
Technology Characteristics | Addressed by intervention? | Data source for baseline value | Default baseline value (pre-intervention) | Baseline value (pre-intervention) | % Improvement | Calculated post-intervention value
Capacity factor (%) | No | Use default data | 90% | 50% | 3% | 92.7%
Degradation rate (%/yr) | No |  | 0% |  |  | 0%
Installed cost ($/kW) | No |  | 5127.3429 |  | 10% | 4614.6086
Fixed O&M ($/kW-yr) | No |  | 144.859 |  |  | 144.859
Variable O&M ($/MWh) | No |  | 0 |  |  | 0
Fuel cost ($/MMBtu) | No |  | 0 |  | 10% | 0
Heat rate (Btu/kWh) | No |  | 0 |  | 20% | 0

## RESULTS
CHANGE IN LCOE RESULTS SUMMARY:
EPC-14-002 - Geothermal
INPUTS
Technology Characteristics | Pre-Intervention | Post-Intervention | % Improvement
Capacity factor (%) | 90% | 90% | 0%
Degradation rate (%/yr) | 0% | 0% | N/A
Installed cost ($/kW) | 5127.3429 | 5127.3429 | 0%
Fixed O&M ($/kW-yr) | 144.859 | 144.859 | 0%
Variable O&M ($/MWh) | 0 | 0 | N/A
Fuel cost ($/MMBtu) | 0 | 0 | N/A
Heat rate (Btu/kWh) | 0 | 0 | N/A
FINANCIAL ASSUMPTIONS
| Cost of capital | Value
Levelization period (years) |  | 25
Capital Recovery Factor | 0% | 0.04
| 3% | 0.057428
| 7.68% | 0.091132
RESULT
| Pre-Intervention (2016 $/MWh) | Post-Intervention (2016 $/MWh) | % Improvement
Simple LCOE (0% cost of capital) | 44.3877 | 44.3877 | 0% | 0
Simple LCOE (3% cost of capital) | 55.7219 | 55.7219 | 0%
Simple LCOE (7.68% cost of capital) | 77.641 | 77.641 | 0%

## Defaults
← green highlight = should be updated annually
Year of RESOLVE update
2019 | https://www.cpuc.ca.gov/General.aspx?id=6442462824
Dollar year
2016
California IOU average cost of capital
7.68% | https://www.cpuc.ca.gov/General.aspx?id=12093
Capacity Costs | [12 empty] | *Biogas not available in RESOLVE 2019
Input | Solar PV - Residential | Solar PV - Commercial | Solar PV - Utility | Solar Thermal | Wind - Onshore | Wind - Offshore | Li-ion Battery - Utility | Li-ion Battery - BTM | Flow Battery | Geothermal | Biomass | Hydropower | Biogas | Other
Capacity factor (%) | 17% | 20% | 33% | 33% | 36.4% | 45% | 15% | 15% | 15% | 90% | 90% | 60% | 90% | N/A
Degradation rate (%/yr) | 0.5% | 0.5% | 0.5% | 0.5% | 0% | 0% | 0.5% | 0.5% | 0.5% | 0% | 0% | 0% | 0% | N/A
Installed cost ($/kW) | 5105.7596 | 3458.9577 | 2400.2878 | 7872.2075 | 1622.3568 | 5757.0738 | 225.61 | 289.3333 | 1374 | 5127.3429 | 3970.3583 | 5724.4419 | 10004.58 | N/A
Fixed O&M ($/kW-yr) | 30.6346 | 24.2127 | 18.9424 | 66.8422 | 51.331 | 115.7834 | 0.89241 | 9.2587 | 10.992 | 144.859 | 109.8433 | 113.1971 | 442 | N/A
Variable O&M ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | N/A
Fuel cost ($/MMBtu) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | -5 | N/A
Heat rate (Btu/kWh) | [10 empty] | 13500 |  | 10000 | N/A
Battery Duration Costs
Input | Li-ion Battery - Utility | Li-ion Battery - BTM | Flow Battery
Installed cost ($/kWh) | 312.9162 | 644.7549 | 246
Fixed O&M ($/kWh-yr) | 4.6937 | 20.6322 | 1.968
Battery Charging Costs
Input | Li-ion Battery - BTM |  | Battery Duration (hours)
Residential off-peak electricity price ($/MWh) | 200 |  | 4
Total Battery Costs
Input | Li-ion Battery - Utility | Li-ion Battery - BTM | Flow Battery
Capacity factor (%) | 15% | 15% | 15%
Degradation rate (%/yr) | 0.5% | 0.5% | 0.5%
Installed cost ($/kW) | 1477.2747 | 2868.3529 | 2358
Fixed O&M ($/kW-yr) | 19.6674 | 91.7873 | 18.864
Variable O&M ($/MWh) | 0 | 200 | 0
Fuel cost ($/MMBtu) | 0 | 0 | 0
Heat rate (Btu/kWh) | 0 | 0 | 0

## Degradation
Year | Degradation Factor (Pre-intervention) | Degradation Factor (Post-intervention)
1 | 100% | 100%
2 | 100% | 100%
3 | 100% | 100%
4 | 100% | 100%
5 | 100% | 100%
6 | 100% | 100%
7 | 100% | 100%
8 | 100% | 100%
9 | 100% | 100%
10 | 100% | 100%
11 | 100% | 100%
12 | 100% | 100%
13 | 100% | 100%
14 | 100% | 100%
15 | 100% | 100%
16 | 100% | 100%
17 | 100% | 100%
18 | 100% | 100%
19 | 100% | 100%
20 | 100% | 100%
21 | 100% | 100%
22 | 100% | 100%
23 | 100% | 100%
24 | 100% | 100%
25 | 100% | 100%